Northvale Water

Tom Reddy
Highways Engineer
Northvale County Council

Our ref: KVL-NVW-610-LT-U-0003
Date: 8 July 2025

Dear Tom,

Mill Lane water main - response to your letter KVL-NCC-610-LT-U-0014

Thank you for the trial hole results. We require a minimum clearance of 600 mm between our main and any new structure, and a minimum cover of 1.2 m under a carriageway.

A diversion of the main would need a 16-week lead time. Alternatively, a reinforced concrete protection slab over the main is acceptable in principle, subject to our approval of the details before construction.

Yours sincerely,

Gareth Lloyd, Asset Engineer, Northvale Water

cc: Priya Nair, Lead Bridge Engineer, Arden Moss Consulting Engineers