Northvale Water

Tom Reddy
Highways Engineer
Northvale County Council

Our ref: KVL-NVW-610-LT-U-0004
Date: 5 September 2025

Dear Tom,

Mill Lane water main - acceptance of protection slab

We have reviewed drawing KVL-ADM-330-DR-S-0206 C01. The 250 mm protection slab over our main at Mill Lane is accepted, and a diversion is no longer required.

Our inspector must be present when the main is exposed and before the slab is cast. Please give us five working days' notice.

Yours sincerely,

Gareth Lloyd, Asset Engineer, Northvale Water

cc: Priya Nair, Lead Bridge Engineer, Arden Moss Consulting Engineers; Mark Bellamy, Project Manager, Castlegate Civils Ltd