Northvale County Council

David Okafor
Project Engineer
Arden Moss Consulting Engineers

Our ref: KVL-NCC-320-LT-D-0011
Date: 22 May 2025

Dear David,

Kestrel Valley Link Road - Pond 2 East - revised discharge limit

Our updated flood model for Mill Brook, completed in April 2025, shows increased flood risk downstream of Mill Lane. As lead local flood authority we must reduce the permitted discharge from Pond 2 East from 8.0 l/s to 5.0 l/s.

Please revise the attenuation design and confirm the storage volume required. The Pond 1 West discharge limit of 6.0 l/s is unchanged.

Yours sincerely,

Helen Marsh, Project Manager, Northvale County Council

cc: Sam Whitfield, Drainage Engineer, Arden Moss Consulting Engineers; Mark Bellamy, Project Manager, Castlegate Civils Ltd