Castlegate Civils Ltd

# Submittal

| Project | Kestrel Valley Link Road |
| --- | --- |
| Document | KVL-CGC-310-SB-D-0018 |
| Revision | P01 |
| Status | AP - For approval |
| Date | 20 June 2025 |

| Title | Pond 1 Flow Control Chamber - Vortex Flow Control Device |
| --- | --- |
| Submitted by | Jo Kimani, Site Engineer, Castlegate Civils Ltd |
| For review by | Sam Whitfield, Drainage Engineer, Arden Moss Consulting Engineers |
| Specification | Series 500 - Drainage and service ducts |

## 1 Product

Aqualine VFC-150 vortex flow control device in a 1500 mm precast chamber at the Pond 1 West outlet, set to pass 6.0 l/s at a design head of 1.5 m.

## 2 Performance

The manufacturer's head-flow curve is attached. Flow at 1.5 m head is 5.9 l/s.