Castlegate Civils Ltd

# Submittal

| Project | Kestrel Valley Link Road |
| --- | --- |
| Document | KVL-CGC-320-SB-D-0009 |
| Revision | P02 |
| Status | AP - For approval |
| Date | 6 October 2025 |

| Title | Pond 2 Flow Control Chamber - Vortex Flow Control Device |
| --- | --- |
| Submitted by | Jo Kimani, Site Engineer, Castlegate Civils Ltd |
| For review by | Sam Whitfield, Drainage Engineer, Arden Moss Consulting Engineers |
| Specification | Series 500 - Drainage and service ducts |

## 1 Product

Proposed substitute: Streamflow SV-100 vortex flow control device, offered as a cost saving and a shorter delivery time than the Aqualine VFC-150 approved at P01.

## 2 Performance

The manufacturer's curve for the SV-100 gives a discharge of 6.3 l/s at the design head of 1.8 m.