Castlegate Civils Ltd

# Request for Information

| Project | Kestrel Valley Link Road |
| --- | --- |
| Document | KVL-CGC-200-RI-C-0016 |
| Revision | P01 |
| Status | OP - Open |
| Date | 18 June 2025 |

| RFI subject | Wet unsuitable material in cutting Ch 1+900 |
| --- | --- |
| Raised by | Jo Kimani, Site Engineer, Castlegate Civils Ltd |
| Addressed to | Nadia Hussain, Highways Engineer, Arden Moss Consulting Engineers |
| Response required by | 2 July 2025 |
| Programme impact | Moderate - cutting excavation paused between Ch 1+860 and Ch 1+940 |
| References | KVL-ADM-200-DR-C-0202 |

## Query

Excavation of the cutting at Ch 1+900 has exposed wet silty material that fails the moisture content limit for acceptable fill, over a length of about 80 m.

Please advise the treatment of the cutting face and formation, and whether the cutting slope on drawing KVL-ADM-200-DR-C-0202 C01 should be revised.

## Response

(To be completed by the designer.)