Castlegate Civils Ltd

# Request for Information

| Project | Kestrel Valley Link Road |
| --- | --- |
| Document | KVL-CGC-600-RI-U-0017 |
| Revision | P01 |
| Status | OP - Open |
| Date | 5 June 2025 |

| RFI subject | Telecom duct depth at Ch 3+100 |
| --- | --- |
| Raised by | Jo Kimani, Site Engineer, Castlegate Civils Ltd |
| Addressed to | David Okafor, Project Engineer, Arden Moss Consulting Engineers |
| Response required by | 12 June 2025 |
| Programme impact | Minor - earthworks at Ch 3+100 resequenced |
| References | KVL-ADM-600-DR-U-0601 |

## Query

At Ch 3+100 the existing OpenLine telecom duct was found at 0.45 m depth, shallower than the 0.75 m shown on drawing KVL-ADM-600-DR-U-0601 C01.

Please confirm whether the diverted duct route or the formation level is to be adjusted.

## Response

(To be completed by the designer.)