Castlegate Civils Ltd

# Submittal

| Project | Kestrel Valley Link Road |
| --- | --- |
| Document | KVL-CGC-410-SB-S-0017 |
| Revision | P01 |
| Status | AP - For approval |
| Date | 18 September 2025 |

| Title | River Kest Bridge Deck Waterproofing System |
| --- | --- |
| Submitted by | Ryan Doyle, Piling Supervisor, Castlegate Civils Ltd |
| For review by | Priya Nair, Lead Bridge Engineer, Arden Moss Consulting Engineers |
| Specification | Series 2000 - Waterproofing for concrete structures |

## 1 Product

Spray-applied methyl methacrylate waterproofing membrane for the River Kest Bridge deck slab, with a primer and a bonding coat.

## 2 Application

Applied to the cured deck slab at a minimum dry film thickness of 2.0 mm, with adhesion testing at 50 m2 intervals.