Castlegate Civils Ltd

# Request for Information

| Project | Kestrel Valley Link Road |
| --- | --- |
| Document | KVL-CGC-410-RI-S-0015 |
| Revision | P01 |
| Status | OP - Open |
| Date | 22 July 2025 |

| RFI subject | East abutment pile cut-off level clarification |
| --- | --- |
| Raised by | Jo Kimani, Site Engineer, Castlegate Civils Ltd |
| Addressed to | Priya Nair, Lead Bridge Engineer, Arden Moss Consulting Engineers |
| Response required by | 29 July 2025 |
| Programme impact | None if answered before pile cap works |
| References | KVL-ADM-410-DR-S-0110 |

## Query

Piling layout KVL-ADM-410-DR-S-0110 C02 gives a pile cut-off level of +12.85 mAOD and a pile cap soffit of +12.75 mAOD. Please confirm that the 100 mm projection of the piles into the pile cap is intended.

## Response

(To be completed by the designer.)